Questionnaire for Micro-Hydropower project

Please complete this form and send it by email (info@phaesun.com) or fax (+49 (8331)9904212)
Without the red colored information, we cannot offer you a turbine system

Contact information:

Name:

Complete address:

Phone:

Fax:			     
eMail:

Global project information:

Name of project:

Location:

Altitude:		    meters above sea level (MSL)

Type of unit:		Off-grid (Island)	Grid export	Grid export with island backup
			Heating or Hot water

Turbine location:	outdoors	roofed	inside a cabin

Hydraulic information:

Measured (gross) head:			     meters (1,2 – 250m)

Measured (average) flow rate :			     liters per second (l/s)

Measured maximum flow rate:			     l/s

Measured minimum flow rate:			     l/s

Discharge curve existing:			Y		N

Gross head <4m:
Existing weir:					Y		N
Existing canal:					Y		N
State of existing canal:

Distance between weir and scheduled turbine location:	    m

Gross head >4m:

Existing penstock:				Y		N

Length of penstock:				     m

Inner diameter of penstock:		         Ø     mm

Penstock material:				      
Penstock condition:				new	used	old

Static pressure resistance of penstock:		     m H2O or pressure stage PN

Existing weir or control gate:			Y	N
Sand trap existing:				Y	N		sedimentation limit:      mm

Electric information:

Distance between turbine and battery or national grid supply point:	     m

Wire cross section (if wire exists):					     mm² per lead

Voltage of Battery bank:		12V	24V	48V	other          not stated

Other energy supplier available:	PV	       Wind	Generator	national grid

Miscellaneous (enter any relevant data):

# Text boxes

Important:
You must not estimate the head and flow conditions! Is is important to measure it! The design of the turbine depends on the information given from you!

If there is no penstock installed, please measure the distance between weir/spring and estimated turbine location. We will calculate your optimum penstock dimensions during the design process.